| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 10/07/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| His Majesty, Ethan Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Ran pump curve tested - attained pump curve - Power system held up to transient load with fluctuating current draw from pump - Ran heat exchanger test with fans installed - Phase II (conductivity loop) to be constructed next week - MEENs occupied with Midterm Presentation and report - Begin doing measurements for final mounting in PLC box |  |
| Controls Hardware Progress & Updates |  |
| - Tested RTD on skid with heat exchanger test - Tested 3-Way Valve Control with HMI - Continuing HMI screen integration with software |  |
| Controls Software Progress & Updates |  |
| - 3-Way Valve Connected, & Actuated - 3-Way Valve Control & Communication via HMI Established - Data Logging Implemented - 3 - Way Valve Open Loop Test Log - Heat Exchanger Test w/ Logged - Aim to Work on PID Controller for 3-Way Valve |  |