| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 10/15/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| His Majesty, Ethan Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| His Majesty’s Underling, Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Phase I, II (partial), and III (partial) test results collected - Started modeling to mount components in PLC box (TMEIC gave preferences on construction) - Phase II (full) test Thursday (10/15) afternoon - ECEN setup (wiring and comms) to be done in the morning |  |
| Controls Hardware Progress & Updates |  |
| - Continued testing of 3 way valve - Added state indicator to HMI - Testing flow and conductivity transmitters on 10/15 |  |
| Controls Software Progress & Updates |  |
| - P Controller Tuned for 3-way valve - Condensed Regulation Algorithms into Single Anti-Windup Algorithm - Conductivity Tests & Flow Meter Tests |  |