| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 10/22/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan “Secondary” Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| Noah “Second Place” Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Ordered materials for PLC Box Mounting - Skid fully built - Disassembly of wooden temp board starts Thursday (10/21) - Hope to mount input AC bus to PLC box as well - Flexible Panduit hose and additional 2A Type C breaker come in on Friday |  |
| Controls Hardware Progress & Updates |  |
| - Tested Flow Transmitter and Conductivity Probe - Tested 3-way valve effect on flow rate - Seting up alarms on HMI on 10/22 |  |
| Controls Software Progress & Updates |  |
| - Created Moving Average and “Chunk” Average Algorithm for noise reduction - Created sampling function block - Tested Conductivity & Flow - Work with HMI for alarm management |  |