| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 10/01/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Assembled full power system as initially designed - There are some new loads that were added so we need to do slight design changes - Constructed prototype board with all available power system components - This will serve as the test bed for instrument wiring and to measure wiring lengths for eventual mounting into the PLC box - Pump curve test in the morning (Phase I) ¦ Heating loop test in the afternoon (Phase III) - Phase II skid wasn’t put together correctly so we have to delay that |  |
| Controls Hardware Progress & Updates |  |
| - Updated HMI screen to include P&ID - Installed Fan Relays - Tested Communication between PLC and Conductivity Transmitter |  |
| Controls Software Progress & Updates |  |
| - PLC Point List Complete - Digital Twin Revamped - Continue to map variables to instruments and HMI - Begin looking into 3-way valve - Explore data logging |  |