| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 9/24/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Established new water testing agreement with FEDC - We can have multiple days of water testing per week instead of just one - Worked with MEEN TL to draft, sign, and send out a Project Success Agreement - Established expectations for final skid functionality and put a freeze of scope changes - Received ALL Power System components and assembled the prototype for the control/power system - Controls Power System + Pump Power System - Completed first set of Phase I tests - pressure - Flow rate will be done in the afternoon - Validated Controls Power System and Pump Power System through Phase I Tests - took a video |  |
| Controls Hardware Progress & Updates |  |
| - Updated HMI program to include power readings - Installed voltage and current monitors - Installed pump relays |  |
| Controls Software Progress & Updates |  |
| - COMMs with HMI Established - Rev A of point list completed, Rev B of control narrative complete - Updated Digital Twin w/ hydraulics, sized HX, pumps, & 3-way-valve - Wrote simple Phase 1 PLC program - Work on PLC logic, discuss simulation results |  |